dateDef

Suntuity Solar

2137 Route 35

Holmdel, NJ 07733

Re: Engineering Services

nameDef Residence

addressDef stateDef

systemDef kW System

To Whom It May Concern:

We have received information regarding solar panel installation on the roof of the above referenced structure. Our evaluation of the structure is to verify the existing capacity of the roof system and its ability to support the additional loads imposed by the proposed solar system.

1. ***Site Assessment Information***
2. Site visit documentation identifying attic information including size and spacing of framing for the existing roof structure.
3. Design drawings of the proposed system including a site plan, roof plan and connection details for the solar panels. This information will be utilized for approval and construction of the proposed system.
4. ***Description of Structure:***

***Roof Framing:*** framingDef

***Roof Material:*** materialDef

***Roof Slope:*** slopeDef degrees

***Attic Access:*** accessDef

***Foundation:*** Permanent

1. ***Loading Criteria Used***

* **Dead Load**
  + Existing Roofing and framing = existDef psf
  + New Solar Panels and Racking = newDef psf
  + TOTAL = totalDef PSF
* **Live Load** = 20 psf (reducible) – 0 psf at locations of solar panels
* **Ground Snow Load** = snowDef psf
* **Wind Load** based on ASCE 7-asceDef
  + Ultimate Wind Speed = windDef mph (based on Risk Category II)
  + Exposure Category exposDef

*Analysis performed of the existing roof structure utilizing the above loading criteria is in accordance with the yearDef International Residential Code (IRC) with New Jersey Amendments, including provisions allowing existing structures to not require strengthening if the new loads do not exceed existing design loads by 105% for gravity elements and 110% for seismic elements. This analysis indicates that the existing framing will support the additional panel loading without damage, if installed correctly.*

1. ***Solar Panel Anchorage***
2. The solar panels shall be mounted in accordance with the most recent mountDef installation manual. If during solar panel installation, the roof framing members appear unstable or deflect non-uniformly, our office should be notified before proceeding with the installation.
3. mountInfoDef
4. Considering the wind speed, roof slopes, size and spacing of framing members, and condition of the roof, the panel supports shall be placed no greater than spacingDef” on center.

Based on the above evaluation, this office certifies that with the racking and mounting specified, the existing roof system will adequately support the additional loading imposed by the solar system. This evaluation is in conformance with the yearDef IRC with New Jersey Amendments, current industry standards and practice, and is based on information supplied to us at the time of this report.

Should you have any questions regarding the above or if you require further information do not hesitate to contact me.

A picture containing diagram

Description automatically generatedText

Description automatically generated

Very truly yours,

Scott E. Wyssling, PE

New Jersey License No. 41996

COA# 24GA28352000